## Sheet1
Per cada làmpada 5 mesures diferents...
|  | H |  |  |  | N2 |  |  |  | Hg |  |  |  | Ne |  |  |  | Ar |  |  |  | He
divisió 300 del regla |  | Banc òptic
regla 10 cm damunt banc | D | L (m) | d_i | lambda_i | D | L (m) | d_i | lambda_i | D | L (m) | d_i | lambda_i | D | L (m) | d_i | lambda_i | D | L (m) | d_i | lambda_i | D | L (m) | d_i | lambda_i
|  | 0.2 |  | 0 |  |  |  | #DIV/0! |  | 0.2 |  | 0 |  | 0.175 |  | 0 |  | 0.187 |  | 0 |  |  |  | #DIV/0!
DL = 51 mm |  | 0.225 |  | 0 |  | no se fa |  | #VALUE! |  | 0.23 |  | 0 |  | 0.2 |  | 0 |  | 0.227 |  | 0 |  |  |  | #DIV/0!
|  | 0.259 |  | 0 |  |  |  | #DIV/0! |  | 0.26 |  | 0 |  | 0.25 |  | 0 |  | 0.259 |  | 0 |  |  |  | #DIV/0!
|  | 0.3 |  | 0 |  |  |  | #DIV/0! |  | 0.29 |  | 0 |  | 0.3 |  | 0 |  | 0.28 |  | 0 |  |  |  | #DIV/0!
|  | 0.35 |  | 0 |  |  |  | #DIV/0! |  | 0.32 |  | 0 |  | 0.35 |  | 0 |  | 0.3 |  | 0 |  |  |  | #DIV/0!
D = 1/600?
RESTAR 51 mm
ALERTA SA BRUTOR…
ÉS OXIGEN!!!

## Hoja1
Hg
|  |  |  | L (±0,001m) | 0.149 |  |  |  | 0.179 |  |  |  | 0.209 |  |  |  | 0.239 |  |  |  | 0.269
L* (m) | L (±0,001m) | Error L (m) |  |  | Violeta | Azul | Verde | Amarillo | Violeta | Azul | Verde | Amarillo | Violeta | Azul | Verde | Amarillo | Violeta | Azul | Verde | Amarillo | Violeta | Azul | Verde | Amarillo
0.2 | 0.149 | 0.001 |  | dr (±0,001m) | 0.037 | 0.04 | 0.052 | 0.055 | 0.048 | 0.05 | 0.064 | 0.068 | 0.054 | 0.059 | 0.075 | 0.08 | 0.064 | 0.067 | 0.086 | 0.092 | 0.07 | 0.076 | 0.097 | 0.103
0.23 | 0.179 |  |  | dl (±0,001m) | 0.04 | 0.043 | 0.054 | 0.057 | 0.044 | 0.048 | 0.062 | 0.066 | 0.052 | 0.056 | 0.072 | 0.076 | 0.06 | 0.065 | 0.083 | 0.088 | 0.067 | 0.072 | 0.093 | 0.099
0.26 | 0.209 |  |  | d media | 0.0385 | 0.0415 | 0.053 | 0.056 | 0.046 | 0.049 | 0.063 | 0.067 | 0.053 | 0.0575 | 0.0735 | 0.078 | 0.062 | 0.066 | 0.0845 | 0.09 | 0.0685 | 0.074 | 0.095 | 0.101
0.29 | 0.239 |  |  | error d media | 0.0015 | 0.0015 | 0.001 | 0.001 | 0.002 | 0.001 | 0.001 | 0.001 | 0.001 | 0.0015 | 0.0015 | 0.002 | 0.002 | 0.001 | 0.0015 | 0.002 | 0.0015 | 0.002 | 0.002 | 0.002
0.32 | 0.269
|  |  |  | d/((d^2 + L^2)^0,5) | 0.25017 | 0.26831 | 0.33513 | 0.35181 | 0.2489 | 0.26403 | 0.33199 | 0.35055 | 0.24581 | 0.26526 | 0.33176 | 0.34965 | 0.2511 | 0.26619 | 0.33334 | 0.35241 | 0.24677 | 0.26524 | 0.333 | 0.3515
DL = 51 mm |  |  | 0.010335 | Error | 0.010711 | 0.010671 | 0.0076097 | 0.0075737 | 0.011456 | 0.0063849 | 0.0063392 | 0.0063069 | 0.0054627 | 0.0076129 | 0.007438 | 0.0093377 | 0.0085737 | 0.0047822 | 0.0064995 | 0.0081501 | 0.0059362 | 0.007581 | 0.0073338 | 0.0072457
|  |  |  | ƛ exper. (m) | 4.1475e-07 | 4.4482e-07 | 5.5561e-07 | 5.8325e-07 | 4.1263e-07 | 4.3772e-07 | 5.504e-07 | 5.8116e-07 | 4.0751e-07 | 4.3977e-07 | 5.5001e-07 | 5.7967e-07 | 4.1629e-07 | 4.413e-07 | 5.5262e-07 | 5.8425e-07 | 4.0911e-07 | 4.3973e-07 | 5.5207e-07 | 5.8274e-07
|  |  |  | Error ƛ exper. (m) | 4.8885e-08 | 5.1075e-08 | 5.4315e-08 | 5.633e-08 | 4.996e-08 | 4.3437e-08 | 5.1818e-08 | 5.4073e-08 | 3.9641e-08 | 4.5627e-08 | 5.361e-08 | 5.8986e-08 | 4.5457e-08 | 4.1049e-08 | 5.225e-08 | 5.736e-08 | 4.0546e-08 | 4.5571e-08 | 5.3592e-08 | 5.5748e-08
|  |  | L (±0,001m) | 0.149 | L (±0,001m) | 0.179 | L (±0,001m) | 0.209 | L (±0,001m) | 0.239 | L (±0,001m) | 0.269 | [5 empty] | AJUSTES |  |  |  |  | RESULTADO |  |  | Color | Violeta | Azul | Verde | Amarillo
Color | ƛ (A) | ƛ (m) | d/((d^2 + L^2)^0,5) | Error | d/((d^2 + L^2)^0,5) | Error | d/((d^2 + L^2)^0,5) | Error | d/((d^2 + L^2)^0,5) | Error | d/((d^2 + L^2)^0,5) | Error |  |  |  | L (±0,001m) | D (m) | error D (m) | n (m) | error n (m) |  | D media | error D media | % error |  | ƛ exper. media (m) | 4.1206e-07 | 4.4067e-07 | 5.5214e-07 | 5.8222e-07
Violeta | 4046.6 | 4.0466e-07 | 0.25017 | 0.0093792 | 0.2489 | 0.010392 | 0.24581 | 0.0045959 | 0.2511 | 0.0078324 | 0.24677 | 0.0053138 |  |  |  | 0.149 | 1.6838e-06 | 1.5171e-07 | -1.6634e-08 | 4.8847e-08 |  | 1.6579e-06 | 1.2442e-07 | 7.5052 |  | Error ƛ exper. media (m) | 4.4898e-08 | 4.5352e-08 | 5.3117e-08 | 5.65e-08
Azul | 4358.4 | 4.3584e-07 | 0.26831 | 0.0092583 | 0.26403 | 0.0052674 | 0.26526 | 0.0066888 | 0.26619 | 0.004004 | 0.26524 | 0.0069201 |  |  |  | 0.179 | 1.6481e-06 | 1.1905e-07 | -8.1358e-10 | 3.7514e-08
Verde | 5460.7 | 5.4607e-07 | 0.33513 | 0.0059288 | 0.33199 | 0.0050021 | 0.33176 | 0.0063383 | 0.33334 | 0.005574 | 0.333 | 0.0065472 |  |  |  | 0.209 | 1.6543e-06 | 1.1795e-07 | -2.2806e-09 | 3.3805e-08
Amarillo | 5769.7 | 5.7697e-07 | 0.35181 | 0.0058341 | 0.35055 | 0.0049174 | 0.34965 | 0.0081969 | 0.35241 | 0.0071885 | 0.3515 | 0.0064296 |  |  |  | 0.239 | 1.6621e-06 | 1.2073e-07 | -8.0307e-09 | 3.5764e-08
[16 empty] | 0.269 | 1.641e-06 | 1.1269e-07 | -2.9583e-11 | 3.3549e-08
Ne
|  |  |  | L (±0,001m) | 0.124 |  |  |  |  | 0.149 |  |  |  |  | 0.199 |  |  |  |  | 0.249 |  |  |  |  | 0.299
L* (m) | L (±0,001m) |  |  |  | Amarillo 1 | Amarillo 2 | Naranja 1 | Naranja 2 | Rojo | Amarillo 1 | Amarillo 2 | Naranja 1 | Naranja 2 | Rojo | Amarillo 1 | Amarillo 2 | Naranja 1 | Naranja 2 | Rojo | Amarillo 1 | Amarillo 2 | Naranja 1 | Naranja 2 | Rojo | Amarillo 1 | Amarillo 2 | Naranja 1 | Naranja 2 | Rojo
0.175 | 0.124 |  |  | dr (±0,001m) | 0.045 | 0.046 | 0.048 | 0.049 | 0.051 | 0.056 | 0.058 | 0.059 | 0.06 | 0.063 | 0.075 | 0.076 | 0.078 | 0.079 | 0.083 | 0.094 | 0.096 | 0.098 | 0.1 | 0.105 | 0.112 | 0.114 | 0.117 | 0.119 | 0.125
0.2 | 0.149 |  |  | dl (±0,001m) | 0.044 | 0.045 | 0.046 | 0.048 | 0.049 | 0.055 | 0.057 | 0.058 | 0.059 | 0.062 | 0.074 | 0.075 | 0.077 | 0.078 | 0.082 | 0.091 | 0.093 | 0.095 | 0.096 | 0.101 | 0.109 | 0.111 | 0.114 | 0.116 | 0.121
0.25 | 0.199 |  |  | d media | 0.0445 | 0.0455 | 0.047 | 0.0485 | 0.05 | 0.0555 | 0.0575 | 0.0585 | 0.0595 | 0.0625 | 0.0745 | 0.0755 | 0.0775 | 0.0785 | 0.0825 | 0.0925 | 0.0945 | 0.0965 | 0.098 | 0.103 | 0.1105 | 0.1125 | 0.1155 | 0.1175 | 0.123
0.3 | 0.249 |  |  | error d media | 0.0005 | 0.0005 | 0.001 | 0.0005 | 0.001 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0015 | 0.0015 | 0.0015 | 0.002 | 0.002 | 0.0015 | 0.0015 | 0.0015 | 0.0015 | 0.002
0.35 | 0.299
|  |  |  | d/((d^2 + L^2)^0,5) | 0.33778 | 0.34448 | 0.35443 | 0.36426 | 0.37397 | 0.34905 | 0.36003 | 0.36546 | 0.37085 | 0.38681 | 0.35061 | 0.35473 | 0.3629 | 0.36695 | 0.38297 | 0.34823 | 0.35482 | 0.36136 | 0.36623 | 0.38224 | 0.34665 | 0.35215 | 0.36034 | 0.36575 | 0.38044
|  |  |  | Error | 0.0057755 | 0.0057846 | 0.0090929 | 0.0058048 | 0.0090275 | 0.0048187 | 0.004828 | 0.0048316 | 0.0048344 | 0.0048391 | 0.0036091 | 0.0036118 | 0.0036164 | 0.0036182 | 0.0036228 | 0.0061912 | 0.0061686 | 0.0061453 | 0.0077452 | 0.0076486 | 0.0051602 | 0.0051448 | 0.0051207 | 0.0051041 | 0.0063789
|  |  |  | ƛ exper. (m) | 5.5999e-07 | 5.7109e-07 | 5.8759e-07 | 6.0389e-07 | 6.1999e-07 | 5.7868e-07 | 5.9687e-07 | 6.0588e-07 | 6.1482e-07 | 6.4128e-07 | 5.8126e-07 | 5.8808e-07 | 6.0163e-07 | 6.0836e-07 | 6.349e-07 | 5.7732e-07 | 5.8825e-07 | 5.9909e-07 | 6.0716e-07 | 6.337e-07 | 5.747e-07 | 5.8382e-07 | 5.9739e-07 | 6.0636e-07 | 6.3071e-07
|  |  |  | Error ƛ exper. (m) | 5.1603e-08 | 5.2452e-08 | 5.9174e-08 | 5.4946e-08 | 6.1497e-08 | 5.142e-08 | 5.2801e-08 | 5.3482e-08 | 5.4158e-08 | 5.6152e-08 | 4.9608e-08 | 5.0125e-08 | 5.1149e-08 | 5.1657e-08 | 5.3657e-08 | 5.3593e-08 | 5.4376e-08 | 5.515e-08 | 5.8409e-08 | 6.0241e-08 | 5.1687e-08 | 5.2346e-08 | 5.3324e-08 | 5.397e-08 | 5.7911e-08
|  |  |  | Color | Amarillo 1 | Amarillo 2 | Naranja 1 | Naranja 2 | Rojo
|  |  |  | ƛ exper. media (m) | 5.7439e-07 | 5.8562e-07 | 5.9832e-07 | 6.0812e-07 | 6.3212e-07
|  |  |  | Error ƛ exper. media (m) | 5.1582e-08 | 5.242e-08 | 5.4456e-08 | 5.4628e-08 | 5.7891e-08
H
L* (m) | L (±0,001m) |  |  | L (±0,001m) | 0.149 |  |  | 0.174 |  |  | 0.208 |  |  | 0.249 |  |  | 0.299
0.2 | 0.149 |  |  |  | Violeta | Azul | Rojo | Violeta | Azul | Rojo | Violeta | Azul | Rojo | Violeta | Azul | Rojo | Violeta | Azul | Rojo
0.225 | 0.174 |  |  | dr (±0,001m) | 0.041 | 0.047 | 0.066 | 0.048 | 0.054 | 0.076 | 0.057 | 0.064 | 0.091 | 0.069 | 0.078 | 0.11 | 0.084 | 0.094 | 0.134
0.259 | 0.208 |  |  | dl (±0,001m) | 0.042 | 0.046 | 0.064 | 0.047 | 0.053 | 0.074 | 0.056 | 0.063 | 0.089 | 0.067 | 0.077 | 0.107 | 0.081 | 0.091 | 0.127
0.3 | 0.249 |  |  | d media | 0.0415 | 0.0465 | 0.065 | 0.0475 | 0.0535 | 0.075 | 0.0565 | 0.0635 | 0.09 | 0.068 | 0.0775 | 0.1085 | 0.0825 | 0.0925 | 0.1305
0.35 | 0.299 |  |  | error d media | 0.0005 | 0.0005 | 0.001 | 0.0005 | 0.0005 | 0.001 | 0.0005 | 0.0005 | 0.001 | 0.001 | 0.0005 | 0.0015 | 0.0015 | 0.0015 | 0.0035
|  |  |  | d/((d^2 + L^2)^0,5) | 0.26831 | 0.29791 | 0.39985 | 0.26335 | 0.29389 | 0.39583 | 0.26214 | 0.29198 | 0.39711 | 0.26345 | 0.29718 | 0.39947 | 0.26598 | 0.29554 | 0.40001
|  |  |  | Error | 0.004671 | 0.004741 | 0.0074225 | 0.0039884 | 0.0040526 | 0.0063693 | 0.0033341 | 0.0033872 | 0.0053247 | 0.0045899 | 0.0028361 | 0.0059896 | 0.0053205 | 0.0052761 | 0.010135
|  |  |  | ƛ exper. (m) | 4.4482e-07 | 4.9389e-07 | 6.629e-07 | 4.366e-07 | 4.8723e-07 | 6.5623e-07 | 4.3458e-07 | 4.8407e-07 | 6.5836e-07 | 4.3675e-07 | 4.9269e-07 | 6.6226e-07 | 4.4096e-07 | 4.8997e-07 | 6.6317e-07
|  |  |  | Error ƛ exper. (m) | 4.1128e-08 | 4.4927e-08 | 6.2057e-08 | 3.938e-08 | 4.3286e-08 | 5.981e-08 | 3.8144e-08 | 4.1946e-08 | 5.8238e-08 | 4.0389e-08 | 4.1679e-08 | 5.9633e-08 | 4.1915e-08 | 4.552e-08 | 6.6575e-08
|  |  |  | Color | Violeta | Azul | Rojo
|  |  |  | ƛ exper. media (m) | 4.3874e-07 | 4.8957e-07 | 6.6058e-07
|  |  |  | Error ƛ exper. media (m) | 4.0191e-08 | 4.3472e-08 | 6.1263e-08
Ar
L* (m) | L (±0,001m) |  |  | L (±0,001m) | 0.136 |  | 0.176 |  | 0.208 |  | 0.229 |  | 0.249
0.187 | 0.136 |  |  |  | Azul | rojo/naranja | Azul | rojo/naranja | Azul | rojo/naranja | Azul | rojo/naranja | Azul | rojo/naranja
0.227 | 0.176 |  |  | dr (±0,001m) | 0.036 | 0.053 | 0.045 | 0.069 | 0.052 | 0.08 | 0.059 | 0.091 | 0.066 | 0.099
0.259 | 0.208 |  |  | dl (±0,001m) | 0.035 | 0.052 | 0.047 | 0.071 | 0.054 | 0.078 | 0.061 | 0.089 | 0.064 | 0.096
0.28 | 0.229 |  |  | d media | 0.0355 | 0.0525 | 0.046 | 0.07 | 0.053 | 0.079 | 0.06 | 0.09 | 0.065 | 0.0975
0.3 | 0.249 |  |  | error d media | 0.0005 | 0.0005 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.0015
|  |  |  | d/((d^2 + L^2)^0,5) | 0.25257 | 0.36013 | 0.25287 | 0.36957 | 0.24692 | 0.35506 | 0.25345 | 0.36578 | 0.25258 | 0.36461
|  |  |  | Error | 0.005069 | 0.0052895 | 0.0064905 | 0.0063715 | 0.0054895 | 0.0054197 | 0.0049886 | 0.004904 | 0.0045876 | 0.0061333
|  |  |  | ƛ exper. (m) | 4.1872e-07 | 5.9704e-07 | 4.1922e-07 | 6.1269e-07 | 4.0935e-07 | 5.8864e-07 | 4.2019e-07 | 6.0641e-07 | 4.1874e-07 | 6.0447e-07
|  |  |  | Error ƛ exper. (m) | 3.9829e-08 | 5.3578e-08 | 4.2224e-08 | 5.6547e-08 | 3.9824e-08 | 5.3163e-08 | 3.9806e-08 | 5.3642e-08 | 3.9033e-08 | 5.5535e-08
|  |  |  | Color | Azul | rojo/naranja
|  |  |  | ƛ exper. media (m) | 4.1725e-07 | 6.0185e-07
|  |  |  | Error ƛ exper. media (m) | 4.0143e-08 | 5.4493e-08
Note on E10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Error estándar de la media Reply: Con propagación sale demasiado pequeño
Note on E32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Error estándar de la media Reply: Con propagación sale demasiado pequeño
Note on E58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Error estándar de la media Reply: Con propagación sale demasiado pequeño
Note on E88: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Error estándar de la media Reply: Con propagación sale demasiado pequeño

## Hoja2
[5 empty] | Sin pesos | [12 empty] | Con peos
| x | y | Incertidumbre de x | Incertidumbre de y | Sn | Sx | Sy | xy | Sxy | X2 | Sx2 | Δ | σy (equivalente) | σA | σB | A | B | W | Sn | wx | Sx | wy | Sy | wxy | Sxy | wx2 | Sx2 | A | B | Δ | σA | σB | σx | σy | σxy | R | R^2
| 0.25017 | 4.0466e-07 | 0.0093792 | 0 | 4 | 1.2054 | 1.9635e-06 | 1.0123e-07 | 6.0417e-07 | 0.062586 | 0.37066 | 0.029594 | 1.577e-08 | 5.5812e-08 | 1.8334e-07 | -1.5817e-08 | 1.6814e-06 | 4020950486920638 | 28602673895631824 | 1.0059e+15 | 9141672451016052 | 1627117824.0373 | 14916700879.6818 | 407060613.0471 | 4840669306.3683 | 2.5166e+14 | 2965209367906495 | -1.6634e-08 | 1.6838e-06 | 1.2427e+30 | 4.8847e-08 | 1.5171e-07 | 0.04966 | 8.3508e-08 | 4.1466e-09 | 0.99989 | 0.99979
| 0.26831 | 4.3584e-07 | 0.0092583 | 0 |  |  |  | 1.1694e-07 |  | 0.071991 |  |  |  | Con peos W: 4.1266e+15; Con peos wx: 1107223463272412; Con peos wy: 1798557633.0377; Con peos wxy: 482572274.2326 | 2.9708e+14 | [11 empty] | D | error D | n | error n
| 0.33513 | 5.4607e-07 | 0.0059288 | 0 |  |  |  | 1.8301e-07 |  | 0.11232 |  |  |  | Con peos W: 10062791962980362; Con peos wx: 3372387865547361; Con peos wy: 5494988807.2247; Con peos wxy: 1841559841.7394 | 1.1302e+15 | [11 empty] | 1.6838e-06 | 1.5171e-07 | -1.6634e-08 | 4.8847e-08
| 0.35181 | 5.7697e-07 | 0.0058341 | 0 |  |  |  | 2.0298e-07 |  | 0.12377 |  |  |  | Con peos W: 10392284894157556; Con peos wx: 3656128702270735; Con peos wy: 5996036615.3821; Con peos wxy: 2109476577.3491 | 1.2863e+15
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[5 empty] | Sin pesos | [8 empty] | Con peos W: Con peos
| x | y | Incertidumbre de x | Incertidumbre de y | Sn | Sx | Sy | xy | Sxy | X2 | Sx2 | Δ | σy (equivalente) | σA | σB | A | B | W | Sn | wx | Sx | wy | Sy | wxy | Sxy | wx2 | Sx2 | A | B | Δ | σA | σB | σx | σy | σxy | R | R^2
| 0.2489 | 4.0466e-07 | 0.010392 | 0 | 4 | 1.1955 | 1.9635e-06 | 1.0072e-07 | 5.9934e-07 | 0.061949 | 0.36477 | 0.029917 | 1.7373e-08 | 6.0664e-08 | 2.0089e-07 | -8.7527e-09 | 1.6718e-06 | 3313043498571612 | 45306166885186032 | 824603378456190 | 14164146095816158 | 1340656182.132 | 23307530403.5166 | 333684003.1261 | 7402960952.068 | 205240508328528 | 4.4987e+15 | -8.1358e-10 | 1.6481e-06 | 3.1967e+30 | 3.7514e-08 | 1.1905e-07 | 0.049931 | 8.3508e-08 | 4.1679e-09 | 0.99958 | 0.99916
| 0.26403 | 4.3584e-07 | 0.0052674 | 0 |  |  |  | 1.1507e-07 |  | 0.069711 |  |  |  | Con peos W: 12896035312462854; Con peos wx: 3404929408566429; Con peos wy: 5620608030.5838; Con peos wxy: 1484004433.4296 | 8.99e+14 | [11 empty] | D | error D | n | error n
| 0.33199 | 5.4607e-07 | 0.0050021 | 0 |  |  |  | 1.8129e-07 |  | 0.11022 |  |  |  | Con peos W: 14300346774835246; Con peos wx: 4747615704280504; Con peos wy: 7808990363.3343; Con peos wxy: 2592530507.6365 | 1.5762e+15 | [11 empty] | 1.6481e-06 | 1.1905e-07 | -8.1358e-10 | 3.7514e-08
| 0.35055 | 5.7697e-07 | 0.0049174 | 0 |  |  |  | 2.0226e-07 |  | 0.12289 |  |  |  | Con peos W: 14796741299316318; Con peos wx: 5186997604513035; Con peos wy: 8537275827.4665; Con peos wxy: 2992742007.8759 | 1.8183e+15
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[5 empty] | Sin pesos | [8 empty] | Con peos W: Con peos
| x | y | Incertidumbre de x | Incertidumbre de y | Sn | Sx | Sy | xy | Sxy | X2 | Sx2 | Δ | σy (equivalente) | σA | σB | A | B | W | Sn | wx | Sx | wy | Sy | wxy | Sxy | wx2 | Sx2 | A | B | Δ | σA | σB | σx | σy | σxy | R | R^2
| 0.24581 | 4.0466e-07 | 0.0045959 | 0 | 4 | 1.1925 | 1.9635e-06 | 9.9469e-08 | 5.9798e-07 | 0.060422 | 0.3631 | 0.030411 | 7.6236e-09 | 2.6343e-08 | 8.7432e-08 | -3.6278e-09 | 1.6588e-06 | 17206004185809848 | 39784853352355176 | 4.2294e+15 | 11276704165997294 | 6962581653.8298 | 18563921336.7722 | 1711458599.4286 | 5380708860.7376 | 1.0396e+15 | 3.2682e+15 | -2.2806e-09 | 1.6543e-06 | 2.8598e+30 | 3.3805e-08 | 1.1795e-07 | 0.050342 | 8.3508e-08 | 4.2038e-09 | 0.99997 | 0.99994 | D | error D | n | error n
| 0.26526 | 4.3584e-07 | 0.0066888 | 0 |  |  |  | 1.1561e-07 |  | 0.070365 |  |  |  | Con peos W: 8123331349671272; Con peos wx: 2.1548e+15; Con peos wy: 3540472735.4407; Con peos wxy: 939158914.0725 | 5.716e+14 | [11 empty] | 1.6543e-06 | 1.1795e-07 | -2.2806e-09 | 3.3805e-08
| 0.33176 | 5.4607e-07 | 0.0063383 | 0 |  |  |  | 1.8116e-07 |  | 0.11006 |  |  |  | Con peos W: 9046380818774394; Con peos wx: 3.0012e+15; Con peos wy: 4939957173.7081; Con peos wxy: 1638867591.8561 | 9.9567e+14
| 0.34965 | 5.7697e-07 | 0.0081969 | 0 |  |  |  | 2.0174e-07 |  | 0.12225 |  |  |  | Con peos W: 5409136998099662; Con peos wx: 1.8913e+15; Con peos wy: 3120909773.7936; Con peos wxy: 1091223755.3804 | 6.6129e+14
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[5 empty] | Sin pesos | [8 empty] | Con peos W: Con peos
| x | y | Incertidumbre de x | Incertidumbre de y | Sn | Sx | Sy | xy | Sxy | X2 | Sx2 | Δ | σy (equivalente) | σA | σB | A | B | W | Sn | wx | Sx | wy | Sy | wxy | Sxy | wx2 | Sx2 | A | B | Δ | σA | σB | σx | σy | σxy | R | R^2
| 0.2511 | 4.0466e-07 | 0.0078324 | 0 | 4 | 1.203 | 1.9635e-06 | 1.0161e-07 | 6.0298e-07 | 0.063053 | 0.36921 | 0.02956 | 1.3173e-08 | 4.6554e-08 | 1.5323e-07 | -1.4938e-08 | 1.6818e-06 | 5763001602479690 | 46036337404977240 | 1.4471e+15 | 13521351663152164 | 2332056228.4594 | 22104654991.664 | 585585639.6653 | 6606404462.9716 | 3.6337e+14 | 4039970457736250 | -8.0307e-09 | 1.6621e-06 | 3.1585e+30 | 3.5764e-08 | 1.2073e-07 | 0.049632 | 8.3508e-08 | 4.1429e-09 | 0.99958 | 0.99915 | D | error D | n | error n
| 0.26619 | 4.3584e-07 | 0.004004 | 0 |  |  |  | 1.1602e-07 |  | 0.070856 |  |  |  | Con peos W: 22052682887008780; Con peos wx: 5870147782076004; Con peos wy: 9611441309.4739; Con peos wxy: 2558445209.34 | 1.5626e+15 | [11 empty] | 1.6621e-06 | 1.2073e-07 | -8.0307e-09 | 3.5764e-08
| 0.33334 | 5.4607e-07 | 0.005574 | 0 |  |  |  | 1.8202e-07 |  | 0.11111 |  |  |  | Con peos W: 11379050450448436; Con peos wx: 3793046329174376; Con peos wy: 6213758079.4764; Con peos wxy: 2071268808.9723 | 1.2644e+15
| 0.35241 | 5.7697e-07 | 0.0071885 | 0 |  |  |  | 2.0333e-07 |  | 0.12419 |  |  |  | Con peos W: 6841602465040328; Con peos wx: 2.4111e+15; Con peos wy: 3947399374.2543; Con peos wxy: 1391104804.9941 | 8.4968e+14
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[5 empty] | Sin pesos | [8 empty] | Con peos W: Con peos
| x | y | Incertidumbre de x | Incertidumbre de y | Sn | Sx | Sy | xy | Sxy | X2 | Sx2 | Δ | σy (equivalente) | σA | σB | A | B | W | Sn | wx | Sx | wy | Sy | wxy | Sxy | wx2 | Sx2 | A | B | Δ | σA | σB | σx | σy | σxy | R | R^2
| 0.24677 | 4.0466e-07 | 0.0053138 | 0 | 4 | 1.1965 | 1.9635e-06 | 9.9859e-08 | 6.0011e-07 | 0.060896 | 0.3657 | 0.031122 | 8.7134e-09 | 2.9868e-08 | 9.8783e-08 | 3.854e-10 | 1.6398e-06 | 13171260260164738 | 38610642749740976 | 3250292323700649 | 11361860392907202 | 5329882176.8783 | 18643464224.8827 | 1315263291.7087 | 5615393071.9959 | 8.0208e+14 | 3.4222e+15 | -2.9583e-11 | 1.641e-06 | 3.0406e+30 | 3.3549e-08 | 1.1269e-07 | 0.050926 | 8.3508e-08 | 4.2527e-09 | 0.99999 | 0.99997 | D | error D | n | error n
| 0.26524 | 4.3584e-07 | 0.0069201 | 0 |  |  |  | 1.156e-07 |  | 0.070352 |  |  |  | Con peos W: 7766466805356932; Con peos wx: 2.06e+15; Con peos wy: 3384936892.4468; Con peos wxy: 897819950.2116 | 5.4639e+14 | [11 empty] | 1.641e-06 | 1.1269e-07 | -2.9583e-11 | 3.3549e-08
| 0.333 | 5.4607e-07 | 0.0065472 | 0 |  |  |  | 1.8184e-07 |  | 0.11089 |  |  |  | Con peos W: 8676278536128008; Con peos wx: 2889230820856216; Con peos wy: 4737855420.2234; Con peos wxy: 1577722274.345 | 9.6212e+14
| 0.3515 | 5.7697e-07 | 0.0064296 | 0 |  |  |  | 2.0281e-07 |  | 0.12356 |  |  |  | Con peos W: 8996637148091294; Con peos wx: 3.1624e+15; Con peos wy: 5190789735.3342; Con peos wxy: 1824587555.7306 | 1.1116e+15
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[8 empty] | 0 |  | 0 |  |  |  | Con peos wx: 0; Con peos wy: 0; Con peos wxy: 0 | 0
[5 empty] | Sin pesos | [8 empty] | Con peos W: Con peos
| x | y | Incertidumbre de x | Incertidumbre de y | Sn | Sx | Sy | xy | Sxy | X2 | Sx2 | Δ | σy (equivalente) | σA | σB | A | B | W | Sn | wx | Sx | wy | Sy | wxy | Sxy | wx2 | Sx2 | A | B | Δ | σA | σB | σx | σy | σxy | R | R^2
violeta | 7.2 | 4.3874e-07 | 0 | 3.8603e-08 | 10 | 17.2952 | 1.5889e-06 | 3.159e-06 | 8.9156e-06 | 51.84 | 102.9601 | 730.4763 | 3.8603e-08 | 1.4493e-08 | 4.5167e-09 | 1.2862e-08 | 8.4432e-08 | 6.7104e+14 | #DIV/0! | 4831493799188238 | #DIV/0! | 294414821.389 | #DIV/0! | 2119786714.0005 | #DIV/0! | 34786755354155312 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 2.8489 | 2.6164e-07 | 6.8529e-07 | 0.91937 | 0.84525
blau | 5.3333 | 4.8957e-07 | 0 | 4.1738e-08 |  |  |  | 2.611e-06 |  | 28.4444 |  |  |  | Con peos W: 5.7403e+14; Con peos wx: 3.0615e+15; Con peos wy: 281030671.6075; Con peos wxy: 1498830248.5642 | 16328105729868698
vermell | 4.7619 | 6.6058e-07 | 0 | 5.9132e-08 |  |  |  | 3.1456e-06 |  | 22.6757 |  |  |  | Con peos W: 2.8599e+14; Con peos wx: 1.3619e+15; Con peos wy: 188920468.326; Con peos wxy: 899620378.1217 | 6485051771239846
| 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  | Con peos W: #DIV/0!; Con peos wx: #DIV/0!; Con peos wy: #DIV/0!; Con peos wxy: #DIV/0! | #DIV/0!
| 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  | Con peos W: #DIV/0!; Con peos wx: #DIV/0!; Con peos wy: #DIV/0!; Con peos wxy: #DIV/0! | #DIV/0!
| 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  | Con peos W: #DIV/0!; Con peos wx: #DIV/0!; Con peos wy: #DIV/0!; Con peos wxy: #DIV/0! | #DIV/0!
| 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  | Con peos W: #DIV/0!; Con peos wx: #DIV/0!; Con peos wy: #DIV/0!; Con peos wxy: #DIV/0! | #DIV/0!
| 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  | Con peos W: #DIV/0!; Con peos wx: #DIV/0!; Con peos wy: #DIV/0!; Con peos wxy: #DIV/0! | #DIV/0!
| 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  | Con peos W: #DIV/0!; Con peos wx: #DIV/0!; Con peos wy: #DIV/0!; Con peos wxy: #DIV/0! | #DIV/0!
| 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  | Con peos W: #DIV/0!; Con peos wx: #DIV/0!; Con peos wy: #DIV/0!; Con peos wxy: #DIV/0! | #DIV/0!
[16 empty] | R_H | 11843794.4524
| Color | Violeta | Azul | Rojo
| ƛ exper. media (m) | 4.3874e-07 | 4.8957e-07 | 6.6058e-07 | [9 empty] | A: R^2; B: 0.84525
| Error ƛ exper. media (m) | 3.8603e-08 | 4.1738e-08 | 5.9132e-08